# The biomechanical analysis of passive standing among people with paraplegia utilizing a standing wheelchair

Yu-Sheng Yang, PhD1,2, Fang Wei-Chien,BS2, Pan I-Chun, BS1, Jyh-Jong Chang, PhD1,2

Department of Occupational Therapy, Kaohsiung Medical University, Kaohsiung, Taiwan

Graduate Institute of Occupational Therapy, Kaohsiung Medical University, Kaohsiung, Taiwan

## ABSTRACT

Standing wheelchairs provide an effective means to counterbalance many of the negative effects of stationary sitting. However, little has investigated the kinematic and kinetic profile of low extremities during passive standing. The aim of the study was to measure the kinematic, and kinetic variables during passive standing while utilizing a standing wheelchair. The results showed that certain degrees of hip/knee joint motion are necessary for a user. Up to one-fifth of body weight could put on the knee, and large portion of body weight would transferred to the ankle joint during passive standing. These findings suggested some contraindications and precautions for a standing wheelchair user

## KEYWORDS

Stand-up; Wheelchairs; Spinal Cord Injuries; Kneepad

## ACKNOWLEDGMENTS

This study was partially funded by the National Science Council, Taiwan (NSC 98-2320-B-037-006-MY3 ), Comfort Orthopedic Co. Ltd lent a standing wheelchair for testing.

## Author Contact Information:

Yu-Sheng Yang, PhD, Department of Occupational Therapy, Kaohsiung Medical University

100, Shi-chuan 1st Rd., Kaohsiung, Taiwan, R.O.C., Office Phone 886-7-312-1101 ext. 2655  EMAIL: yusheng@kmu.edu.tw